## Sheet1
Requirement | Data type | access | PLC parameter name | PC paramater name
DEFAULT | Boolean | ReadOnly | PHASE_FAIL_PREV_FB | PhasefailPreventerFB
| Boolean | ReadOnly | HEART_BEAT_TO_PC_ST2 | HeartBeat_ToPC
| Boolean | ReadOnly | AutoCycleTestStart | AutoCycleTestStart
| Boolean | ReadOnly | PC_PLC_COMM_FAULT | PC PLC Comm Fault
| Boolean | WriteOnly | PC_SCAN_BIT_ST2 | BarCodeReceive
| Boolean | WriteOnly | PC_VEHICLECALIBRATION_BIT | VehicleCalibrationStart
| Boolean | ReadOnly | SYSTEM_FAULTS_ST2 | System
| Boolean | ReadOnly | EMG_OFF_ST2_FAULT | EMGPendentFault
| Boolean | ReadOnly | CON_PANEL_EMG_OFF_FAULT | EMGControlPanelFault
| Boolean | ReadOnly | ROLLER_BRAKE_ST2_FAULT | Roller Brake Fault
| Boolean | ReadOnly | PHASE_FAIL_PREV_FAULT | PhasefailFault
| Boolean | ReadOnly | EMG_OFF_ST2 | EmgOffPendent
| Boolean | ReadOnly | FAULT_RESET_ST2 | FaultResetPendent
| Boolean | ReadOnly | CON_PANEL_EMG_OFF | EMGOFFControlDrivePanel
| Boolean | ReadOnly | CON_PAN_EL_FAULT_RESET | FaultResetDriveControlPan
| Boolean | ReadOnly | PHASE_FAIL_PREV_FB | PhasefailPreventerFB
| Boolean | ReadOnly | RUN_LAMP_ST2 | RUNLAMPRWTPendent
| Boolean | ReadOnly | FAULT_LAMP_ST2 | FaultLAMPRWTPendent
| Boolean | ReadOnly | RUN_LAMP_TOWER | DynoRUNLampTower
| Boolean | ReadOnly | MAINTENANCE_LAMP | MaintenModeONTowerLamp
| Boolean | ReadOnly | FAULT_LAMP_TOWER | FaultTowerLamp
| Boolean | ReadOnly | FAULT_BUZZER | Fault_Buzzer
| Boolean | ReadOnly | PC_PLC_COMM_FAULT_ST2 | FaultLAMPDriveContlPanel2
| Boolean | ReadOnly | TEST_START_ST2 | Test Start
| Boolean | WriteOnly | PC_M_HL_AT_POS | Maint_HL_AT_POS
| Boolean | WriteOnly | HEART_BEAT_FROM_PC_ST2 | HeartBeat_FromPC
| Boolean | ReadOnly | FAULT_BUZZ | Fault_Buzzer
| Boolean | ReadOnly | MAINT_LAMP | MaintenModeONTowerLamp
| Real | ReadOnly | ACT_TORQUE_PC | Torque
| Real | ReadOnly | ACT_TRACTIVE_FORCE | Tractive_Force
| Real | ReadOnly | Accn_PC | Roller Accelaration
| Real | WriteOnly | SPEED_DEMAND_PC | Speed Demand
| Real | WriteOnly | Stage1_RollDiameter | RollerDia
| Real | WriteOnly | PC_ACCELERATION_RATE | Acceleration_Rate
| Real | ReadOnly | RW_BRAKE_FORCE | Force
| Real | ReadOnly | ACTUAL_SPEED_ST1 | Speed
| Real | ReadOnly | FILTERED_MV | Torque_mv
| Real | ReadOnly | FW_BRAKE_FORCE | FW_Force
| Real | ReadOnly | FWT_SPEED | FW_Speed
| Real | ReadOnly | RWT_SPEED | RW_Speed
| Boolean | WriteOnly | PC_MAINT_MODE_SPEEDDEM | PC_MAINT_MODE_SPEEDDEM
| Boolean | ReadWrite | HEART_BEAT_TO_PC_ST1 | HeartBeat_ToPC
| Boolean | WriteOnly | HEART_BEAT_FROM_PC_ST1 | HeartBeat_FromPC
| Boolean | WriteOnly | PC_SCAN_BIT_ST1 | BarCodeReceive
| Boolean | WriteOnly | PC_WARMUP_BIT | WarmUpStarted
| Boolean | WriteOnly | PC_MAINT_MODE_ON_ST2 | MaintenanceMode_On
| Boolean | ReadOnly | FWT_EMG_OFF_FAULT | EMGPendentFaultFWT
| Boolean | ReadOnly | RWT_EMG_OFF_FAULT | EMGPendentFaultRWT
| Boolean | ReadOnly | CON_PANEL_EMG_OFF_FAULT | EMGDrivePanelFault
| Boolean | ReadOnly | ROLLER_BRAKE_ST1_FAULT | Roller Brake Fault
| Boolean | ReadOnly | FWT_EMG_OFF | EMGOFFPendentFWT
| Boolean | ReadOnly | RWT_EMG_OFF | EMGOFFPendentRWT
| Boolean | ReadOnly | DRIVE_PAN_EMG_OFF | DrivePanelEmgOff
| Boolean | ReadOnly | DRIVE_PAN_FAULT_RESET | DrivePanelFaultReset
| Boolean | ReadOnly | RUN_LAMP_ST1 | RunLampFWTPendent
| Boolean | ReadOnly | FAULT_LAMP_ST1 | FaultLampFWTPendent
| Boolean | ReadOnly | RUN_LAMP_DP | RunLampDriveControlPanel
| Boolean | ReadOnly | FAULT_LAMP_DP | FaultLampDriveContPanel
| Boolean | WriteOnly | PC_SET_ZERO | Torque_Cal_Zero
| Boolean | WriteOnly | PC_SET_MAX | Torque_Cal_Span
| Boolean | ReadOnly | SYSTEM_FAULT_ST1 | System
| Boolean | ReadOnly | PC_PLC_COMM_FAULT_ST1 | PC PLC Comm Fault
| Boolean | ReadOnly | DRIVE_FAULT | DriveFault
| Boolean | ReadOnly | DRIVE_FAULTY | DRIVE_FAULTY
| Boolean | ReadOnly | DYNO_RUN_PC | DYNO_RUN_PC
| Boolean | ReadOnly | PHASE_FAIL_PREV_FAULT | PHASE_FAIL_PREV_FAULT
| Boolean | ReadOnly | EMG_OFF_CTR_PAN | EMGOFFControlDrivePanel
| Boolean | ReadOnly | FAULT_RES_CNTR_PAN | FaultResetDriveControlPan
| Boolean | ReadOnly | PH_FAIL_PREV_FB | PhasefailPreventerFB
| Boolean | ReadOnly | EMG_OFF_REAR_PEN | EMGOFFPendentRWT
| Boolean | ReadOnly | FLT_RES_REAR_PEN | FaultResetPendentRWT
| Boolean | ReadOnly | STRT_FTSW_REARPEN | STRT_FTSW_REARPEN
| Boolean | ReadOnly | STOP_FTSW_REARPEN | STOP_FTSW_REARPEN
| Boolean | ReadOnly | SPEED_OK_REAR | SpeedLOGOKPendentRWT
| Boolean | ReadOnly | SPEED_NG_REAR | SpeedTestNGPendentRWT
| Boolean | ReadOnly | ST1_ROLL_BRK_FB | ST1_ROLL_BRK_FB
| Boolean | ReadOnly | EMG_OFF_FWD_PEN | EMGOFFPendentFWT
| Boolean | ReadOnly | FLT_RES_FWD_PEN | FaultResetPendentFWT
| Boolean | ReadOnly | SPEED_OK_FWD | SpeedLOGOKPendentFWT
| Boolean | ReadOnly | SPEED_NG_FWD | SpeedTestNGPendentFWT
| Boolean | ReadOnly | ST1_RUN_LAMP_CTR_PAN | ST1_RUN_LAMP_CTR_PAN
| Boolean | ReadOnly | ST1_FLT_LAMP_CTR_PAN | ST1_FLT_LAMP_CTR_PAN
| Boolean | ReadOnly | MAINT_LAMP | MaintenModeONTowerLamp
| Boolean | ReadOnly | FAULT_BUZZ | Fault_Buzzer
| Boolean | ReadOnly | ST1_FW_DYNO_RUN | ST1_FW_DYNO_RUN
| Boolean | ReadOnly | ST1_FW_FAULT_LAMP | ST1_FW_FAULT_LAMP
| Boolean | ReadOnly | ST1_RW_DYNO_RUN | ST1_RW_DYNO_RUN
| Boolean | ReadOnly | ST1_RW_FAULT_LAMP | ST1_RW_FAULT_LAMP
| Boolean | WriteOnly | PC_M_HL_AT_POS | Maint_HL_AT_POS
| Real | WriteOnly | SPEED_DEMAND_PC | CON_PANEL_EMG_OFF_FAULT
RLS | Boolean | ReadOnly | ST2_TEST_START_PC | RLSTestStart
FW BRAKE | Boolean | ReadOnly | ROLLER_BRAKE_FB_ST1 | FW_RollerBrake_FB
RW BRAKE | Boolean | ReadOnly | ROLLER_BRAKE_FB_ST2 | RW_RollerBrake_FB
| Boolean | ReadOnly | RWT_TEST_START_PC | RWBrakeTestStart
| Boolean | ReadOnly | FW_BRAKE_TEST_START_PC | FWBrakeTestStart
FW COMBI BRAKE | Integer | WriteOnly | BRAKE_STATUS | FWCombiBrakeTestState
| Boolean | ReadOnly | FWT_COMBI | FWCombiBrakeTestStart
| Boolean | ReadOnly | CBS_TEST_FWD | CBS_TEST_FWD
| Real | ReadOnly | FW_COMBI_FORCE | FWCombiBrakeForce
RW COMBI BRAKE | Integer | WriteOnly | BRAKE_STATUS_RWT | RWCombiBrakeTestState
| Boolean | ReadOnly | COMBI_TEST_PC | RWCombiBrakeTestStart
| Boolean | ReadOnly | RWT_COMBI | RWT_COMBI_START_IP
| Boolean | ReadOnly | CBS_TEST_REAR | CBS_TEST_REAR
| Real | ReadOnly | COMBI_BRAKE_FORCE | RWCombiBrakeForce
FW SPEEDOMETER | Boolean | ReadOnly | FWT_TEST_START_PC | FWSpeedometerTestStart
RW SPEEDOMETER | Integer | WriteOnly | SPEED_STATUS | SpeedometerTestState
HEADLIGHT TEST | Boolean | ReadOnly | HEAD_LAMP_TEST | HeadLightTestStart
| Boolean | ReadOnly | HL_HOME_POS | HeadLigtTetHomePositnSole
| Boolean | ReadOnly | HL_AT_POS | HeadLightTestATPositnSole
| Boolean | ReadOnly | HEAD_LIT_TEST | HeadlightTestRWT
| Boolean | ReadOnly | HEAD_LIT_PLNK_WRK_POS_OP | HEAD_LIT_PLNK_WRK_POS_OP
| Boolean | ReadOnly | HEAD_LIT_PLNK_HOM_POS_OP | HEAD_LIT_PLNK_HOM_POS_OP
| Boolean | ReadOnly | HEAD_LIT_PLNK_HOM_POS_FB | HeadLightTestHomePositnFB
| Boolean | ReadOnly | HEAD_LIT_PLNK_WRK_POS_FB | HeadLightTestATPositionFB
| Boolean | ReadOnly | HEAD_LIT_PLNK_HOM_POS_FB | HeadLightTestHomePositnFB
| Boolean | ReadOnly | HEAD_LIT_PLNK_WRK_POS_FB | HeadLightTestATPositionFB
| Boolean | ReadOnly | HL_AT_POS_FAULT | Head Lamp AtPos Fault
| Boolean | ReadOnly | HL_HOME_POS_FAULT | Head Lamp HomePos Fault
Vehicle Calibration | Real | WriteOnly | A_VALUE | VehicleCoeff_A
| Real | WriteOnly | B_VALUE | VehicleCoeff_B
| Real | WriteOnly | C_VALUE | VehicleCoeff_C
| Real | WriteOnly | V0_VALUE | VehicleLossCoeff_0
| Real | WriteOnly | V1_VALUE | VehicleLossCoeff_1
| Real | WriteOnly | V2_VALUE | VehicleLossCoeff_2
| Real | ReadOnly | Stage2_actForce | Force
| Real | WriteOnly | L0_VALUE | LoadingCoeff_0
| Real | WriteOnly | L1_VALUE | LoadingCoeff_1
| Real | WriteOnly | L2_VALUE | LoadingCoeff_2
| Real | WriteOnly | PC_BASE_INERTIA | Base Inertia
| Real | ReadOnly | Torque_mv | Torque_mv
| Real | ReadOnly | check | RW_Speed
EXHAUT COLLECTION | Boolean | WriteOnly | PC_M_EXA_HOOD_OPEN | MaintExhausthoodOpen
| Boolean | WriteOnly | PC_M_EXA_BLWR_ON | MaintExhaustblowerON
| Boolean | WriteOnly | PC_M_VENT_BLWR_1_ON | MaintVentblowerON1
| Boolean | WriteOnly | PC_M_VENT_BLWR_2_ON | MaintVentblowerON2
| Boolean | ReadOnly | EXH_HOOD_OPEN_FAULT | ExhausthoodOPENFault
| Boolean | ReadOnly | EXH_HOOD_CLOSE_FAULT | ExhausthoodCloseFault
| Boolean | ReadOnly | EXH_BLOWER_TRIP_FAULT | EXH_BLOWER_TRIP_FAULT
| Boolean | ReadOnly | EXHAUST_BLOWER_ON_FAULT | ExhaustBlowerFault
| Boolean | ReadOnly | VENT_BLOWER_1_TRIP_FAULT | VentillationBlrTRIPFault
| Boolean | ReadOnly | VENT_BLOWER_1_ON_FAULT | VentillationBlowerONFault
| Boolean | ReadOnly | EXHAUST_HOOD_OPEN_FB | ExhaustHoodOpen_FB
| Boolean | ReadOnly | EXHAUST_HOOD_CLOSE_FB | ExhaustHoodClose_FB
| Boolean | ReadOnly | EXH_BLOWER_TRIP_FB | ExhaustBlowerTrip_FB
| Boolean | ReadOnly | EXH_BLOWER_ON_FB | ExhaustBlowerOn_FB
| Boolean | ReadOnly | VENT_BLOWER_1_TRIP_FB | VENT_BLOWER_1_TRIP_FB
| Boolean | ReadOnly | VENT_BLOWER_1_ON_FB | VENT_BLOWER_1_ON_FB
| Boolean | ReadOnly | VENT_BLOWER_2_TRIP_FB | VENT_BLOWER_2_TRIP_FB
| Boolean | ReadOnly | VENT_BLOWER_2_ON_FB | VENT_BLOWER_2_ON_FB
| Boolean | ReadOnly | EXH_HOOD_OPEN_SOL | ExhaustHoodOpen
| Boolean | ReadOnly | EXH_HOOD_CLOSE_SOL | ExhaustHoodClose
| Boolean | ReadOnly | EXH_BLOWER_ON | ExhaustBlowerON
| Boolean | ReadOnly | VENT_BLOWER_1_ON | VENT_BLOWER_1_ON
| Boolean | ReadOnly | VENT_BLOWER_2_ON | VENT_BLOWER_2_ON
| Boolean | ReadOnly | VENT_BLOWER_2_TRIP_FAULT | VENT_BLOWER_2_TRIP_FAULT
| Boolean | ReadOnly | VENT_BLOWER_2_ON_FAULT | VENT_BLOWER_2_ON_FAULT
| Boolean | ReadOnly | EXH_BLOW_START_OP | EXH_BLOW_START_OP
| Boolean | ReadOnly | EXH_BLOW_FLT_RES_OP | EXH_BLOW_FLT_RES_OP
| Boolean | ReadOnly | ST2_TEL_EXH_OPEN_FLT | ST2_TEL_EXH_OPEN_FLT
| Boolean | ReadOnly | ST2_TEL_EXH_CLOSE_FLT | ST2_TEL_EXH_CLOSE_FLT
| Boolean | ReadOnly | EXH_BLOW_HLTHY_FB | EXH_BLOW_HLTHY_FB
| Boolean | ReadOnly | MOTOR_COOLING_ON_FAULT | MotorcoolingBlowerFault
| Boolean | ReadOnly | MOTOR_COOLING_TRIP_FAULT | MotorCoolingBlwrMPCBTrip
| Boolean | WriteOnly | PC_M_EXA_BLWR_ON | PC_M_EXA_BLWR_ON
| Boolean | WriteOnly | PC_ST1_TEL_EXH_OPEN | PC_ST1_TEL_EXH_OPEN
| Boolean | ReadOnly | MOT_COOL_BLOW_TRIP | MotorCoolingBlwrMPCBTrip
| Boolean | ReadOnly | MOT_COOL_BLOW_ON_FB | Motor_cooling_blower_on
| Boolean | ReadOnly | EXH_BLOW_HLTHY_FB | EXH_BLOW_HLTHY_FB
| Boolean | ReadOnly | EXH_BLOWER_TRIP_FAULT | EXH_BLOWER_TRIP_FAULT
| Boolean | ReadOnly | EXH_BLOW_START_OP | EXH_BLOW_START_OP
| Boolean | ReadOnly | ROTARY_HOOD_ENG_FLT | ROTARY_HOOD_ENG FAULT
| Boolean | ReadOnly | ROTARY_HOOD_DISENG_FLT | ROTARY_HOOD_DISENG_FLT
| Boolean | ReadOnly | ROTARY_HOOD_ENG_FB | ROTARY_HOOD_ENG_FB
| Boolean | ReadOnly | ROTARY_HOOD_DISENG_FB | ROTARY_HOOD_DISENG_FB
| Boolean | ReadOnly | ROTARY_HOOD_ENG_OP | ROTARY_HOOD_ENG_OP
| Boolean | ReadOnly | ROTARY_HOOD_DISENG_OP | ROTARY_HOOD_DISENG_OP
| Boolean | WriteOnly | PC_ROTARY_HOOD_ENG | PC_ROTARY_HOOD_ENG
VEHICLE LIFTING | Boolean | WriteOnly | PC_M_LIFTER_DOWN_ST1 | MaintFrontLifterDown
| Boolean | ReadOnly | LIFTER_DOWN_ST2_FAULT | RearLifterDownFault
| Boolean | ReadOnly | LIFTER_UP_ST2_FAULT | RearLifterUPFault
| Boolean | ReadOnly | LIFTER_DOWN_FB_ST2 | Rear_Lifter_DOWN_FB
| Boolean | ReadOnly | LIFTER_UP_FB_ST2 | Rear_Lifter_UP_FB
| Boolean | ReadOnly | LIFTER_UP_SOL_ST2 | LifterUP
| Boolean | ReadOnly | LIFTER_DOWN_SOL_ST2 | LifterDown
| Boolean | ReadOnly | ST2_LIFT_UP_FB | ST2_LIFT_UP_FB
| Boolean | ReadOnly | ST2_LIFT_DWN_FB | ST2_LIFT_DWN_FB
| Boolean | ReadOnly | ST2_LIFT_UP_OP | ST2_LIFT_UP_OP
| Boolean | ReadOnly | ST2_LIFT_DWN_OP | ST2_LIFT_DWN_OP
| Boolean | WriteOnly | PC_M_LIFTER_DOWN_ST2 | MaintFrontLifterDown
| Boolean | ReadOnly | LIFTER_DOWN_ST1_FAULT | FrontLifterDOWNFault
| Boolean | ReadOnly | LIFTER_UP_ST1_FAULT | FrontLifterUPFault
| Boolean | ReadOnly | LIFTER_DOWN_FB_ST1 | Front_Lifter_DOWN_FB
| Boolean | ReadOnly | LIFTER_UP_FB_ST1 | Front_Lifter_UP_FB
| Boolean | ReadOnly | LIFTER_UP_SOL_ST1 | LifterUPSolenoid
| Boolean | ReadOnly | LIFTER_DOWN_SOL_ST1 | LifterDownSolenoid
| Boolean | ReadOnly | ST1_LIFT_UP_FB | ST1_LIFT_UP_FB
| Boolean | ReadOnly | ST1_LIFT_DOWN_FB | ST1_LIFT_DOWN_FB
| Boolean | ReadOnly | ST1_LIFT_UP_OP | ST1_LIFT_UP_OP
| Boolean | ReadOnly | ST1_LIFT_DOWN_OP | ST1_LIFT_DOWN_OP
WHEEL CLAMPING | Boolean | WriteOnly | PC_M_FW_CLAMP_ST1 | MaintFWClamp
| Boolean | ReadOnly | FW_DECLAMP_ST2_FAULT | FWDeclampFault
| Boolean | ReadOnly | FW_CLAMP_ST2_FAULT | FWClampFault
| Boolean | ReadOnly | FW_DECLAMP_FB_ST2 | FW_Declamp_FB
| Boolean | ReadOnly | FW_CLAMP_FB_ST2 | FW_Clamp_FB
| Boolean | ReadOnly | FW_CLAMP_SOL_ST2 | FWClampSolenoid
| Boolean | ReadOnly | FW_DECLAMP_SOL_ST2 | FWDeclampSolenoid
| Boolean | ReadOnly | ST2_FRONT_WH_CLMP_RH_FB | ST2_FRONT_WH_CLMP_RH_FB
| Boolean | ReadOnly | ST2_FRONT_WH_DECLMP_RH_FB | ST2_FRONT_WH_DECLMP_RH_FB
| Boolean | ReadOnly | ST2_FRONT_WH_CLMP_LH_FB | ST2_FRONT_WH_CLMP_LH_FB
| Boolean | ReadOnly | ST2_FRONT_WH_DECLMP_LH_FB | ST2_FRONT_WH_DECLMP_LH_FB
| Boolean | ReadOnly | ST2_FRONT_WH_CLMP_OP | ST2_FRONT_WH_CLMP_OP
| Boolean | ReadOnly | ST2_FRONT_WH_DECLMP_OP | ST2_FRONT_WH_DECLMP_OP
| Boolean | ReadOnly | ST2_FRONTCLMP_RH_FLT | ST2_FRONTCLMP_RH_FLT
| Boolean | ReadOnly | ST2_FRONTCLMP_RH_FLT | ST2_FRONTCLMP_RH_FLT
| Boolean | ReadOnly | ST2_FRONTDECLMP_RH_FLT | ST2_FRONTDECLMP_RH_FLT
| Boolean | ReadOnly | ST2_FRONTDECLMP_LH_FLT | ST2_FRONTDECLMP_LH_FLT
| Boolean | WriteOnly | PC_M_FW_CLAMP_ST2 | MaintFWClamp
| Boolean | WriteOnly | PC_M_RW_CLAMP_ST1 | MaintRWClamp
| Boolean | ReadOnly | FW_DECLAMP_ST1_FAULT | FWDeclampFault
| Boolean | ReadOnly | FW_CLAMP_ST1_FAULT | FWClampFault
| Boolean | ReadOnly | RW_DECLAMP_ST1_FAULT | RWDeclampFault
| Boolean | ReadOnly | RW_CLAMP_ST1_FAULT | RWClampFault
| Boolean | ReadOnly | FW_DECLAMP_FB_ST1 | FW_Declamp_FB
| Boolean | ReadOnly | FW_CLAMP_FB_ST1 | FW_Clamp_FB
| Boolean | ReadOnly | RW_DECLAMP_FB_ST1 | RW_Declamp_FB
| Boolean | ReadOnly | RW_CLAMP_FB_ST1 | RW_Clamp_FB
| Boolean | ReadOnly | FW_CLAMP_SOL_ST1 | FWClampSolenoid
| Boolean | ReadOnly | FW_DECLAMP_SOL_ST1 | FWDeclampSolenoid
| Boolean | ReadOnly | RW_CLAMP_SOL_ST1 | RWClampSolenoid
| Boolean | ReadOnly | RW_DECLAMP_SOL_ST1 | RWDeclampSolenoid
| Boolean | ReadOnly | ST1_REAR_CLMP_RH_FB | ST1_REAR_CLMP_RH_FB
| Boolean | ReadOnly | ST1_REAR_DECLMP_RH_FB | ST1_REAR_DECLMP_RH_FB
| Boolean | ReadOnly | ST1_REAR_WH_CLMP_LH_FB | ST1_REAR_WH_CLMP_LH_FB
| Boolean | ReadOnly | ST1_REAR_WH_DCLMP_LH_FB | ST1_REAR_WH_DCLMP_LH_FB
| Boolean | ReadOnly | ST1_FRONT_WH_CLMP_RH_FB | ST1_FRONT_WH_CLMP_RH_FB
| Boolean | ReadOnly | ST1_FRONT_WH_DECLMP_RH_FB | ST1_FRONT_WH_DECLMP_RH_FB
| Boolean | ReadOnly | ST1_FRONT_WH_CLMP_LH_FB | ST1_FRONT_WH_CLMP_LH_FB
| Boolean | ReadOnly | ST1_FRONT_WH_DECLMP_LH_FB | ST1_FRONT_WH_DECLMP_LH_FB
| Boolean | ReadOnly | ST1_REAR_WH_CLMP_OP | ST1_REAR_WH_CLMP_OP
| Boolean | ReadOnly | ST1_REAR_WH_DECLMP_OP | ST1_REAR_WH_DECLMP_OP
| Boolean | ReadOnly | ST1_FRONT_WH_CLMP_OP | ST1_FRONT_WH_CLMP_OP
| Boolean | ReadOnly | ST1_FRONT_WH_DECLMP_OP | ST1_FRONT_WH_DECLMP_OP
| Boolean | ReadOnly | ST1_REARCLMP_RH_FLT | ST1_REARCLMP_RH_FLT
| Boolean | ReadOnly | ST1_REARCLMP_LH_FLT | ST1_REARCLMP_LH_FLT
| Boolean | ReadOnly | ST1_REARDECLMP_RH_FLT | ST1_REARDECLMP_RH_FLT
| Boolean | ReadOnly | ST1_REARDECLMP_LH_FLT | ST1_REARDECLMP_LH_FLT
| Boolean | ReadOnly | ST1_FRONTCLMP_RH_FLT | ST1_FRONTCLMP_RH_FLT
| Boolean | ReadOnly | ST1_FRONTCLMP_LH_FLT | ST1_FRONTCLMP_LH_FLT
| Boolean | ReadOnly | ST1_FRONTDECLMP_RH_FLT | ST1_FRONTDECLMP_RH_FLT
| Boolean | ReadOnly | ST1_FRONTDECLMP_LH_FLT | ST1_FRONTDECLMP_LH_FLT
LUBRICATION | Boolean | ReadOnly | LUB_OIL_MOTOR_TRIP_FAULT | Lub Motor MPCB Trip Fault
| Boolean | ReadOnly | LUB_OIL_ON_FAULT | LUB_OIL_ON_FAULT
| Boolean | ReadOnly | LUB_OIL_LOW_LEVEL_FAULT | LUB_OIL_LOW_LEVEL_FAULT
| Boolean | ReadOnly | LUB_OIL_PRESSURE_FAULT | LUB_OIL_PRESSURE_FAULT
| Boolean | ReadOnly | LUB_MOTOR_TRIP_FB | CentralisedLubMotorTripFB
| Boolean | ReadOnly | LUB_OIL_MOTOR_ON_FB | CentralisedLubMotorOnFB
| Boolean | ReadOnly | LUB_OIL_LOW_LEVEL_FB | LUB_OIL_LOW_LEVEL_FB
| Boolean | ReadOnly | LUB_OIL_LOW_PRESS_FB | LUB_OIL_LOW_PRESS_FB
| Boolean | ReadOnly | LUB_MOTOR_ON | CentralisedLUBMotorON
| Boolean | ReadOnly | LUB_MOT_TRIP_FB | LUB_MOT_TRIP_FB
| Boolean | ReadOnly | LUB_MOT_ON_FB | LUB_MOT_ON_FB
| Boolean | ReadOnly | LUB_OIL_LOW_LEVEL_FAULT | LUB_OIL_LOW_LEVEL_FAULT
| Boolean | ReadOnly | LUB_OIL_MOTOR_TRIP_FAULT | LUB_OIL_MOTOR_TRIP_FAULT
| Boolean | ReadOnly | LUB_OIL_ON_FAULT | LUB_OIL_ON_FAULT
| Boolean | ReadOnly | LUB_OIL_PRESSURE_FAULT | LUB_OIL_PRESSURE_FAULT
| Boolean | ReadOnly | LUB_MOT_TRIP_FB | LUB_MOT_TRIP_FB
| Boolean | ReadOnly | LUB_MOT_ON_FB | LUB_MOT_ON_FB
| Boolean | ReadOnly | LUB_OIL_LEV_FB | LUB_OIL_LEV_FB
| Boolean | ReadOnly | LUB_OIL_PRESS_FB | LUB_OIL_PRESS_FB
| Boolean | ReadOnly | LUB_MOT_OP | LUB_MOT_OP